## Slide 1: Economic Effectiveness of RES-E projects – examples of sample calculation
Jaroslav Knápek
Czech Technical University in Prague (CVUT)

## Slide 2: CONTENT OF LECTURE
Economic decision of investors (RES)
How do investors decide to invest into project
Rate of return as the main target of investors
Economic model of a project as the basis of investment appraisal
Cash flow and NPV calculation
Aspects (viewpoints) of economic appraisal
Inclusion of non economic effects into “system” decision
Meaning of discount, proper setting of its value
Nominal versus constant prices, differences between indicators
Structure of input data for NPV calculation (RES projects)
Structure of financing and its impact on rate of return
Effectiveness of RES-E project – case calculation
Typical technical and economic indicators of RES-E technologies
Setting proper assumptions for calculation
Impacts of different assumptions on minimum price of electricity

## Slide 3: How do investors decide to invest into project ?
Inputs project project effects
processes
Project effects:
Economic
Environmental
Social, etc.
Economic effectiveness is measured in money, non economic effects cannot be directly included in to decision
Private investors orientate to economic effects !

## Slide 4: Rate of return as the main target of investors
Maximization of economic welfare as the main rule
Rule of scare resources – money for investments are also scarce !
Why do investors invests ?
  Profit ?
  Rate of return ? (real money ?)
Rational investors compare initial investment with money generated by the project
  Basis for decision are cash flows – results of project existence
What project to choose ?

## Slide 5: Economic effects generated by the project
Division of economic effects generated by the project
Different points of view for economic evaluation
  System (respects total economic effects, division of effects is not taken into account – no taxes, no financing)
  Point of view of total capital (equity + debt capital) – taxes respected, no financing)
  Point of view of investors (taxes and financing respected)
    Entrepreneurs
    Households
    Municipalities
State
(taxes)
Investor
Bank
(interest)

## Slide 6: Inclusion of non economic effects into “system” decision - externalities
Externalities
Effects on the environment (air, water, …, ecosystems, biodiversity, etc.; human health and quality of life, incl. social aspects) that are not included in cost of production and finally in prices – but these effects are borne by the society
  Environmental damages, negative influence to the human health, increased death rate, etc.
  All social and economic impacts – e.g. loss of recreation possibility, loss of possibility to see “last bear”)
Externalities can be either positive of negative
Financial approximation of non economic effects

## Slide 7: Inclusion of non economic effects into “system” decision – externalities 2
Different effects of given common goods
Value of direct utilization (e.g. walk in forest)
Value of opportunity to decide
Value of preservation (awareness of irreversibility)
Method of financial evaluation
1. “Objective” – direct - methods – e.g. decrease of crop yields due to acid deposition, problem of damage function definition, problem of postponed effects, problem of cost – effect identification
2. “Indirect methods” (shadow prices) – e.g. decrease of real estate value due to worsen quality of air, differences in labour force price (extra charges in risk jobs), cost of transportation and/or (e.g. travel to national parks for recreation)
3. Contingent evaluation: based on questionnaires for evaluation of common goods value – e.g. value of decrease of biodiversity, protection endangered animals. etc (very subjective)
• Willingness –to-pay: e.g. for improvement of quality air
• Willingness-to-accept compensation

## Slide 8: Inclusion of non economic effects into “system” decision – externalities 2
External cost for given fuel cycle differs due to:
Differences for states, regions – local conditions
Type of agriculture
Density of population
Given meteorological conditions
State of ecosystems
Quality and cost of health systems
Living standard
External cost of electricity generation (cE/kWh)

## Slide 9: Cash flow calculation – direct method
V Project revenues (sold electricity, energy savings)
L Loan drawdown
Np Operational expenses (material, fuel and energy, maintenance, labor cost)
Nú Paid interest (cost of foreign capital),
D Income tax
Nod Tax depreciations
P,O addable (+) deductible (-) items for income tax calculation
ZS expenses for inventory purchase,
Spl debt repayment
Nivl Investment paid from equity capital
dz income tax rate,
t years of assessment period.

## Slide 10: Net Present Value
CFt difference between money inflow and outflow in given year
rn nominal discount – time value of money
Tž project assessment period
NPV≥0 … invest
Internal rate of return
Payback period Ts

## Slide 11: Minimum price of production
NPV=0 means that production is sold for cmin price and investor gains rate of return equal to discount rate !
Cmin > cmarket ….. Loss for investor

## Slide 12: Nominal versus constant prices
Investors point of view
Should respects real conditions of project realization:
  Inflation, cost growth – different cost items have different growth rate !
  Way of tax calculation and payment
  Adequate value of depreciations as the tax shield
Constant prices used for NPV and cmin calculations
Seems easier – no assumptions on cost and revenue growth are needed
But:
  Paid tax is calculated from revenues and costs in given year (nominal values)
  It means that zero growth is expected
  Depreciations as significant part of cost has higher importance than is adequate (creates tax shield)
  Can serve only as informative indicator

## Slide 13: Minimum price of production versus levelised cost
aTž annuity factor
Ni investment cost
Npr operation cost
E volume of production
r cost of capital (WACC)
Widely used for economic comparison of different technologies
  doesn’t mean „price“ required by investor
  analogy of constant prices approach

## Slide 14: Nominal versus constant prices
Investors point of view
Should respects real conditions of project realization:
  Inflation, cost growth – different cost items have different growth rate !
  Way of tax calculation and payment
  Adequate value of depreciations as the tax shield
Constant prices used for NPV and cmin calculations
Seems easier – no assumptions on cost and revenue growth are needed
But:
  Paid tax is calculated from revenues and costs in given year (nominal values)
  It means that zero growth is expected
  Depreciations as significant part of cost has higher importance than is adequate (creates tax shield)
  Can serve only as informative indicator

## Slide 15: Meaning of discount
Time value of money – opportunity cost
Required rate of return by the investor
Nominal discount: risk free return, risk premium, inflation
Risk
Higher risk means higher discount
Types of risk:
Technology
Fluctuation of weather conditions, natural effects
Business risk
Political risk

## Slide 16: Setting of discount
Discount should reflect risk of business
What is the risk of business in RES-E projects ?
Is the risk for all type of projects the same ?
  RES for electricity generation versus heat production
Case example of the Czech Republic
What is the risk in RES-E project ? Is it different from natural monopilst position, e.g. electricity distribution ?
7% of discount used for feed-in tariff calculation, is it adequate value ?
  What is the meaning of this 7% ?

## Slide 17: Meaning of discount as WACC
Two ways how to calculate feed-in tariffs
Investors point of view
  Assume typical financing – share of bank loan, interest rate, repayment period, etc.
  Use discount rate based on rate of return on equity capital
  but what is typical financing ?
Point of view of total capital
  Structure o financing is not solved (taken into account)
  Discount has meaning of WACC – weighted average cost of capital
E ... equity (own capital)
D ... debt (external capital)
i ... cost of external capital
d ... tax rate
red ... return on own capital

## Slide 18: Meaning of discount as WACC 2
Leverage effect – debt financing is increasing rate of return on equity capital
7% of discount as WACC means typically more than 10% of return on equity
Advantage of bigger companies with capital power
Who have return when 100%
of investment is financed by loan ?

## Slide 19: Needed inputs for analysis of economic effectiveness of RES-E projects
General inputs:
Lifetime period (derived from physical lifetime of key part of technology)
Cost increase expectation
Revenue increase expectation
Discount
Way of financing (equity, loans, subsidies etc.)
Investment cost
initial investment + investment during project lifetime period
  technological part
  construction part
  related investments (infrastructure, access roads)
  grid connection
  decommissioning cost

## Slide 20: Needed inputs for analysis of economic effectiveness of RES-E projects 2
Operating cost
fuel cost (e.g. biomass), sometimes can be negative (waste processing)
other fuel and electricity
repair and maintenance (ussualy can be expressed as % of investment)
labour cost (in RES-E projects typically has low share)
overheads
other financial cost (land rent, insurance, compensation to municipalities etc.)
Expenses related to the financing
Interest paytment and redemption of loans
Leasing payment
Utilization of instaled capacity
key factor in RES-E projects
Utilization of originating heat

## Slide 21: Selected economic parameters of different RES-E technologies
RES-E technologies: Big differences in investment, operational cost and utilization of installed capacity
Two projects using the same technology can differ in investment costs significantly
Small hydro
Investment cost in th. EUR/kW
Operational cost
1,5-3% of investment (smaller has higher %)
Utilization of installed capacity
small and medium: 3000-4500 hours
large: 5000-6000 hours
Lifetime
nominal 30 years, real with increased maintenance cost > 50 years

## Slide 22: Selected economic parameters of different RES-E technologies 2
Wind power plants
investment cost: 900-1100 EUR/kW (technology, construction part)
operational cost: 20-25% of present value of total cost
  insurance, maintenance, repair
access and grid connection: can be significant part of investment
  ČR: total investment in range 1250-1350 EUR/kW
Utilization of installed capacity: given by conditions of location
  ČR: 1800-1900 hour/year
Lifetime: 20 years
Photovoltaics
4900 EUR/kW
operational cost: 1-1.5% (insurance, maintenance)
utilization of installed capacity: 950-1000 hours (geographical latitude)
Minimum price higher 4.5-6 x than for other RES

## Slide 23: Selected economic parameters of different RES-E technologies 3
Sewage and landfill gas
Utilization of existing infrastructure, typically hundreds of kW at max.
Investment cost: 1750 EUR/kW
Operational cost: 4-5% of investment (without cost of gas)
Year utilization: typically very high 7000-8000 hours
Lifetime: 15 years
Biogas stations
technology for biogas production is significant part of investment cost
Investment cost: up to 5000 EUR/kW
Operation cost: similar, fuel cost can be positive or negative
Year utilization: over 7000 hour
Lifetime: 20 years
Problem of utilization of originating heat

## Slide 24: Selected economic parameters of different RES-E technologies 4
Co-firing
almost no investment, utilization of existing infrastructure at coal fired power plants with fluid boilers
operational cost: biomass storage
fuel cost: extra cost – difference of biomass price (2,5-3,5 EUR/GJ) and coal price (1,4 EUR/GJ)
problems with long term contracts for biomass
save emission allowances
Exclusive biomass burning
investment cost: 1750 EUR/GJ
operational cost: 5-6% of investment
Lifetime: 20 years
problem with utilization of originating heat

## Slide 25: Case example of calculation of economic effectiveness of RES-E project
Typical wind power plant in CZ conditions
Demonstration of CF calculation
Needed assumptions
Impact of discount rate
Impact of different ways of financing
  NPV is positive but CF in first years is negative
  Constant prices versus nominal prices – demonstration of differences in result
Sensitivity analysis

## Slide 26: Thank you for attention