First Draft

Co-operating Universities

Financial support by

Prague and Vienna, 2013

Abstract

This paper deals with the possibility to transform energy generated by renewable energy sources into hydrogen during peak periods. In the first part, the process of electrolysis is described, which can be used to perform the transformation. Consequently, the uses of hydrogen are explained with a special focus on reverse engineering the transformation process to generate energy at the time of low energy supply. The second part shows how this technology can be utilized to contribute to the solution of the problems caused by replacing a high number of nuclear power plants with renewable energy sources in Germany, especially regarding their dependence on external factors, such as wind and solar radiation. These two parts are followed by a brief discussion of profitability of this technology and recommendations for policy makers.

Content

1	Introduction	4

2	Conversion Process	5

2.1	Production of Hydrogen	5

2.2	Application of Hydrogen	7

3	Case Study: Prenzlau	8

4	Conclusion	9

# Introduction

Over the years, humans have developed a number of devices that facilitate our everyday life: from cell phones over microwaves  to washing machine. All these inventions have one common denominator: the need for energy. Energy can be stored and transmitted in many forms but the most frequent energy carrier for household appliances and devices of everyday use is electricity as it offers the highest versatility of providing different energy forms. As the society is still evolving, the consumption of electricity is increasing and nothing seems to reverse this trend. For this reason, the electricity production must be continuously expanded and several indicators show that the importance of renewable energy sources will increase.

Since 27 member countries of the European Union have committed themselves to substitute 20% of fossil fuels by renewable energy sources (RES) by 2020, a substantial increase of their usage is expected. Another contributive factor is current negative attitude towards nuclear power, especially after the earthquake and consequent malfunctions in the power plant of Fukushima. Moreover, the United States have decided to produce 80% of electricity from clean energy sources by 2035 and the role of renewable energy sources is expected to be crucial.

Although RES are often preferred by ecologically oriented scientists, they have a number of downsides. Talking about wind and solar power plants, among these disadvantages rank for example land requirements, wildlife endangerment or hazardous materials used for their production, which may have a negative impact on environment if not recycled properly. However, the most important disadvantage of solar and wind power plants for this paper is their dependence on forces beyond human control. This results from their very nature: if wind does not blow, wind power plant cannot produce energy, and, similarly, solar plants may not work without sufficient solar radiation. And conversely, abundant wind or solar radiation causes generation of excessive energy. Both these cases (insufficient as well as excessive energy production) may lead to grid instability and in the worst case black out if not correctly managed. Ideally, electricity generated during peak periods should be stored and used later when the electricity production declines. To achieve this, an effective way to store and later restore energy must be found.

This paper deals with one possibility of using the excessive amount of electricity generated by RES during peak periods: generation of hydrogen by electrolysis of water. Hydrogen can be stored and later used either to increase  electricity supply when needed or it can find other uses in the industry. The main research question of this paper is whether excessive energy generated by renewable energy sources can be effectively transformed into hydrogen by the means of electrolysis. It will also deal with the effectiveness of this process and assess its competitiveness in comparison with other energy storage technologies. Practical part of this work will examine the hybrid power plant Prenzlau and evaluate its success and describe possible implications to the current situation in Germany.

# Conversion Process

Before explaining the conversion process itself, it is necessary to determine what kind of RES are suitable for hydrogen generation. As stated in the introduction, solar and wind power plants have the highest volatility of energy production, and therefore should be considered. Other RES are relatively controllable, as they are less dependent on natural forces, their variations are less volatile or their importance in the energy mix is so low that they could not damage the grid. For this reason, this paper will deal with solar and wind energy as sources of energy for electrolysis.

## Production of Hydrogen

At the moment, only about 4% of total hydrogen production is produced by the electrolysis of water. The greatest setback of this solution is that it consumes a lot of energy, which makes it less profitable than the hydrogen production from fossil fuels. On the other hand, if excessive energy from renewable energy sources could be used, high consumption of energy would not be an insuperable problem.

Currently, the power-to-gas technology is emphasized and several pilot power plants are already in use. The scheme of a power-to-gas plant is illustrated in the following picture:

Figure 1, source: Gerda Gahleitner: "Hydrogen from renewable electricity" in International Journal of Hydrogen Energy 38 (2013), 2040

As shown above, this technology can be either powered directly by renewable energy sources (be a part of the solar or wind power plant) or take electricity from the grid. Currently, grid-connected and hybrid networks are preferred, since they can be used to effectively balance power fluctuation in the whole system.

Only about 50% of all currently running power-to-gas plants and only 2 out of 10 connected directly to the grid use a battery. It serves as a short-term energy storage and can be also used to manage power peaks. Capacity of the battery depends on the installed system size. Currently, prevailing type is the lead-acid battery.

Three types of electrolyzers can be used. They are together with their specifications summarized in the following table:

Table 1, source: Meng Ni et al.: "Potential of renewable hydrogen production for energy supply in Hong Kong" in International Journal of Hydrogen Energy 31 (2006), 1403

It is obvious that proton exchange membrane (PEM) electrolyzer is the most effective and at the same time the most costly one. As the prices are declining, the potential of this type is increasing. Alkalin electrolyzer has also a certain potential being the cheapest possibility.

Most widespread hydrogen storage technology are pressure tanks and only a minority of currently running power-to-gas plants use metal hydride tanks. As for the future, pressure tanks are more likely to be preferred being a cheaper and more available technology with higher capacities.

## Application of Hydrogen

Once hydrogen is produced in a power-to-gas plant it can be utilized in the energy supply system in various ways:

- Generation of electricity applying fuel cells or gas turbines.

- Buffering it in the gas distribution system either as hydrogen or as synthesized methane.

- As a fuel for hydrogen vehicles.

### Generation of electrical energy out of hydrogen

Most of the power-to-gas plants nowadays are using fuel cells to transform hydrogen back into electricity. The most important types of fuel cells are alkaline (AFC), phosphoric acid (PAFC) and proton exchange membrane (PEMFC).

- Alkaline fuel dells (AFCs) utilize an alkaline electrolyte in a water based solution, operate at temperatures between 60 and 90°C, have an electrical efficiency of 60% and are available up to 20 kW. They have simple structures and utilize low-cost catalysts, but as they easily are contaminated by carbon dioxide, purified air or pure oxygen has to be applied.

- Phosphoric acid fuel cells (PAFCs) have a liquid phosphoric acid electrolyte, operate between 150 and 220°C, achieve electrical efficiencies ranging between 40 and 50% and are commercially available up to 200 kW. They can be operated with air and have the advantage of long-term stability, but their initial costs are high, since a platinum (Pt) catalyst has to be used.

- Proton exchange membrane fuel cells (PEMFCs) operate at low temperatures between 60 and 100°C, achieve electrical efficiencies of between 40 and 50% and are available up to 250 kW. The systems are compact, their start-up process is rapid and the sealing is easier due to the solid electrolyte. PEMFC have a longer lifetime and are cheaper to manufacture than other technologies11.

Figure 2 gives a survey about the number and capacity of fuel cells used in various power-to-gas plants and the year of commissioning. Almost all pilot plants use PEMFCs. It is fair to say this technology is the only relevant presently.

Figure 2 – Installed power of fuel cells 11

### Buffering hydrogen in the public gas distribution system

Great expectations are put on the possibility to store hydrogen in the natural gas grid. An already existing infrastructure and large capacities are the obvious advantages of this idea. The key question is how high the amount of hydrogen can be without causing damage or other problems in the pipelines and other distribution facilities. While some pilot plants are dealing with pure hydrogen others apply further treatment to convert hydrogen into methane, which can be fed into the gas grid without any problems.

To synthesize methane out of hydrogen the so-called Sabatier-process12, with the chemical equation as follows, is used.

CO + 3H2  CH4 + H2O

CO2 + 4H2  CH4 + 2H2O

12 http://de.wikipedia.org/wiki/Sabatier-Prozess, called 30.3.2013

# Case Study: Prenzlau

# Conclusion

# Footnotes

Arnulf Grubler et al.: “Chapter 1: Energy Primer” in Global Energy Assessment: Toward a Sustainable Future, IIASA (2012), 108. Accessible via Science Direct.

Yoram Krozer: “Cost and benefit of renewable energy in the European Union“ in Renewable Energy 50 (2013), 68. Accessible via Science Direct.

Bettina B. F. Wittneben: “The impact of the Fukushima nuclear accident on European energy policy” in Environmental Science & Policy 15 (2012), 1. Accessible via Science Direct.

Hooi Hooi Lean, Russel Smith: “Are fluctuations in US production or renewable energy permanent or transitory?“ in Applied Energy 101 (2013), 483. Accessible via Science Direct.

For more information see http://www.ucsusa.org/clean_energy/our-energy-choices/renewable-energy/environmental-impacts-of.html

Source to be determined

Olga Bičáková, Pavel Straka: “Production of hydrogen from renewable resources and its effectiveness” in International Journal of Hydrogen Energy 27 (2012), 11563. Accessible via Science Direct.

Gerda Gahleitner: "Hydrogen from renewable electricity" in International Journal of Hydrogen Energy 38 (2013), 2040. Accessible via Science Direct.

Gerda Gahleitner: "Hydrogen from renewable electricity" in International Journal of Hydrogen Energy 38 (2013), 2048. Accessible via Science Direct.

Meng Ni et al.: "Potential of renewable hydrogen production for energy supply in Hong Kong" in International Journal of Hydrogen Energy 31 (2006), 1403

Gerda Gahleitner: "Hydrogen from renewable electricity" in International Journal of Hydrogen Energy 38 (2013), 2050. Accessible via Science Direct.

# Text boxes

Hydrogen Storage Technology:

Application to RES

Fabian Moisl

Jiří Smetana