## Slide 1
Reinhard HAAS
Praha, 20 November 2017
ELECTRICITY MARKET 3.0: WHERE TO HEAD AFTER LIBERALISATION?
Energy Economics Group, TU Wien

## Slide 2
CONTENT:
1. Introduction: Motivation
7. Conclusions
3. How variable renewables impact prices in electricity markets
2. Method of approach
5. The role of flexibility
4. The core problem of capacity payments
6. Subsidizing RES: How long?

## Slide 3
* Competition & democracy
* Climate change  Paris agreements
* Targets for renewables
1. INTRODUCTION
Motivation:
* Due to the IEA-WEO 2017 will „Photovoltaics the cheapest source of new electricity in most countries world-wide” be

## Slide 4
Introduction: Electricity generation EU-28

## Slide 5
Short-term marginal costs
Long-term marginal costs
Average
costs
Price, costs (EUR/MWh)
time
Scarcity prices
after liberalisation: old thinking
before liberalisation
How prices come about:
Three periods of market design
after liberalisation: new thinking
Excess prices

## Slide 6
Flexibility options
Grid
Demand
Supply
Genera- tion
Storage
Old thinking

## Slide 7
Core objective
… to identify the major boundary conditions for sustainable and democratic future electricity systems
Very important:
Our reflections apply in principle to every electricity system world-wide
…. are based on electricity economic point-of-view

## Slide 8
2. METHOD OF APPROACH
Identification of hourly residual load over a year for various scenarios with large quantities of variable renewables;
Applying a fundamental model to calcuIate hourly residual loads and electricity spot market prices;

## Slide 9
Expectation of
prices = Short-term marginal costs
due to huge depreciated excess capacities at the beginning of liberalisation!
(Short-term marginal costs = fuel costs)
Day-ahead electricity markets

## Slide 10
3 HOW VARIABLE RENEWABLES IMPACT THE electricity system and PRICES IN ELECTRICITY MARKETS

## Slide 11
Costs,Price (EUR/MWh)
MW
Supply curve w/ PV
Demand Dt
Price = System marginal costs
PV
Supply curve w/o PV
Example: prices without and with PV
Price with PV!

## Slide 12
  Supply and Demand
Demand
RES Production > Demand
RES Production < Demand

## Slide 13
  Key term of the future: Residual load (base load is “dead”)
Excess electricity
Under coverage
  Residual load = Load – non-flexible generation

## Slide 14
Deviation from STMC-pricing in spot markets
pt1
pt2
New price spreads
 These price spreads provide incentives for new flexible solutions!!!!
Negative prices
Scarcity prices
Low average price (3cents/kWh)

## Slide 15
Remark: Cold - dark – Lull („Kalte Dunkelflaute“)
Maximum price: ca. 85 EUR/MWh

## Slide 16
  Classified residual load over a year
Under coverage
Surplus due to excess generation
2013
2030

## Slide 17
Under coverage
Excess production
How to cover Cold - dark – Lull („Kalte Dunkelflaute“) ?
Classified residual load

## Slide 18
By a regulated capacity „market“ with STMC pricing?
or
By competition between supply-side and demand-side technologies and behaviour (incl. Storages, grid and other flexibility options) with correct scarcity pricing signals?
There are two extreme positions:

## Slide 19
4 THE CORE PROBLEMS OF CAPACITY PAYMENTS
All regulatory capacity payments for power plants destort the EOM and lead to wrong price signals for all other options
Price peaks at times of scarce resource should revive the markets and lead to effective competition
We should strive to retain system resource adequacy by ensuring correct price signals and without capacity payments

## Slide 20
SMART GRIDS
GRID EXTENTION
STORAGES (CENTRAL, DECENTRAL, POWER-TO-HEAT)
DEMAND RESPONSE (PRICE SIGNALS)
DEMAND-SIDE MANAGEMENT (TECHNICAL)
FLEXIBLE GENERATION
5 THE ROLE OF FLEXIBILITY AND SECTOR COUPLING

## Slide 21
Very high prices (2000 EUR/MWh!)
Load reduction due to Demand response to prices
Extension Transmission grid
Load reduction due to Demand-side management technical (e.g. cycling)
Storages
Hours/year
Flexible coverage of residual load
Flexible power plants
Capacity without ensured payments

## Slide 22
Storing every peak?
Under coverage
Excess capcity
High excess capacity at very few hours!
e.g. 20% less capacity stored  1% less electricity stored!
Hours/year

## Slide 23
Flexibility options
Grid
Demand
Supply
Genera- tion
Storage
Old thinking

## Slide 24
Flexibility options
Grid
Prosum-agers *)
STO
Electricity market 3.0: Making the electricity system more democratic
Balancing Group/ Supplier
G4
G1
G2
G3
G5
STO
STO
*) R. Green

## Slide 25
  6. IS THE time for subsidizing RENEWABLES over ?
As long there is no price on CO2 …..

## Slide 26
  Grid parity: PV-costs and household electricity prices
Grid parity
Household electricity price Germany
Costs
Austria
Czech Republic

## Slide 27
Assessment of Grid Parity
EOwn *PHH + EFeed-in*Pfeed-in > Annuity
Grid parity term
Savings/revenues
Costs
Subsidy still necessary?

## Slide 28
Share of own consumption

## Slide 29
Tenant electricity model and Blockchain
Balancing Group/ Supplier
Customer 1
Customer 2
Meter
Customer 3
PV-System on the roof
Tenant electricity model:
Contracted PV-electricity
Blockchain

## Slide 30
Promotion of decentralized PV in Czech Republic
Program is opened for family houses and blocks of flats
Currently 3rd call for family houses includes:
Generated power should be used on site of generation at least by 70%
Systems with and without batteries with utilization of excess electricity for hot water or general own use are subsidized
PV systems for power: *below 10 kWp, * should be connected to the grid

## Slide 31
Peer-to-peer

## Slide 32
7. CONCLUSIONS
most urgent: exhaust full creativity for flexibility of all market participants incl. decentralised PV systems
Sustainable electric. system  integration of a broad technology portfolio & demand-side options!
Very important: correct price signals (incl. CO2)
Capacity payments: Any CP will distort the system towards more conv. and less RES capacity
New key player: Balancing group (Supplier), no more the generator
Larger market areas favourable