## Slide 1: The new faces of electrical power networks coordination
Miroslav Vrba

## Slide 2: European meshed grid an advantage or disadvantage ?

## Slide 3: The new faces of electrical power networks coordination

## Slide 6: Traditionally and newly needed relationship among market players

## Slide 7: How to tackle compexity ?

## Slide 8: How to keep lights on

## Slide 9: Regional Operational Centre vs Regional Security Coordinators

## Slide 10
Regional Operational Centre vs Regional Security Coordinators

## Slide 12: RSCs support TSOs in operational planning

## Slide 13: Driving forces: stressed situations

## Slide 14: Driving forces: decarbonisation

## Slide 15: Driving forces: market development

## Slide 16: German – Austrian bidding zone – pioneer or relic of European market integration ?
Trade volume DE-AT represents up to 30% of cross-border transactions in the CEE region
Due to unsufficient transmission capacity, up to 70% of traded electricity physically flows through neighbouring transmission systems
DE-AT bidding zone
    forced decrease of tradable cross-border capacities on other borders within the region
    endangers secure operation within the region
In May 2017, Austrian and German Regulators decided to introduce coordinated congestion management on the DE-AT border as from October 2018, but 4,9 GW transfer capacity will be still available for market players for exchanges between Austria and Germany
Unsufficient transmission capability of the bidding zone
Flows jeopardizing security of supply in neighbouring countries
+
Discrimination of market participants outside the zone

## Slide 17: Driving forces: congestion management
7300 MW
1600 MW
1700 MW
2700 MW
2900 MW
Generation surplus
Demand for imports
1140 MW
Trades
Redispatching
Reality
600 MW
D-1Balance
ID Balance
During the day the redispatching was between 300 – 1000 MW
7570 MW
1350 MW
3890 MW
-2440 MW
110 MW
390 MW
-4700 MW
-510 MW
-2300 MW
5700 MW
-830 MW
5100 MW
-1580 MW
710 MW
720 MW
-2800 MW
-510 MW
-2300 MW
During the day MRA was between
640 – 1140 MW
500 MW
During the day the redispatching was between 200 – 870 MW
TenneT:
Internal redispatching up to 600 MW
Reconfiguration in substations: Conneforde, Landesbergen, EmdenB, Pleinting, Mecklar, Redwitz
Generation decrease in power plant Irsching to 0 as redispatching with APG
PSE:
Cancellation of intended works on lines Mikulowa-Lesniow
ČEPS:
Reconfiguration in Hradec substation

## Slide 18: Generation pattern in Germany

## Slide 19: The new faces of electrical power networks coordination
Thank you for attention
Miroslav Vrba